## Slide 1: Advancement in Renewable Energy

## Slide 2: BIG QUESTION?
What is renewable Energy?
Why is it Important?

## Slide 3: What is Renewable Energy?
Renewable energy is generally defined as energy that comes from resources which are naturally replenished on a human timescale such as sunlight, wind, rain, tides, waves and geothermal heat.
Renewable energy replaces conventional fuels in four distinct areas: electricity generation, hot water/space heating, motor fuels, and rural energy services.

## Slide 4: Popular Renewable Energy Solutions
Solar Energy – Solar Photovoltaic Modules
Wind Energy - Wind Generators
Bio Energy - Bio Methanation & Bio Gasifier Plants
Solar Thermal - Solar Air Conditioning, Solar Steam Cooking, Solar Water Heating Systems etc.
Hydropower – Hydro electric power units

## Slide 5: Solar Energy - Solar Photovoltaic's
Why Solar?
Solar Power brings a much cleaner bright new dawn and almost infinitely renewable energy
Sun’s energy is converted to the essential electricity needed to light and power our homes, to cook our meals and operate our appliances, to energize our working lives and leisure time.
Immense potential throughout the world.
Solar map of India is shown as a sample.

## Slide 6: Solar Photovoltaic System
Solar Power Generation Systems begin with the solar module.
The Solar PV modules generate DC electricity - or direct current - sending it to the inverter.
The charge controller regulates the charge of batteries.
The inverter transforms the DC power into AC electricity.
Can be connected with the existing power grid which opens the option to sell excessive electricity back to the grid

## Slide 7: Wind Generators
Air has mass, and when it is in motion, it contains the energy of that motion ("kinetic energy").
A wind energy system transforms the kinetic energy of the wind into mechanical or electrical energy that can be harnessed for practical use .
There are two basic designs of wind electric turbines:
vertical-axis, or "egg-beater" style
horizontal-axis (propeller-style) machines.
Horizontal-axis wind turbines are most common today

## Slide 8: Wind Solar Hybrid Systems
Wind Solar Hybrid Systems are highly reliable and economical power systems.
Stand alone hybrid farms can easily supplement household power or provide power to remote locations.
Wind and solar energies are complimentary throughout the year hence highly reliable.
Designed and built using wind generators and Solar PV module.
Can be used as stand alone or grid connected systems.

## Slide 9: Wind Solar Hybrid System - Illustration

## Slide 10: Hybrid Street Lighting System
Wind Solar Hybrid Street Lighting Systems are independent and stand alone systems.
Does not require external wiring or cabling.
Economical to construct and maintenance free.
Available with various light sources like High power LED, Metal Halide bulbs, Low pressure sodium vapor bulbs or CFL bulbs.
Equipped with a suitable wind generator and sufficient Solar PV module.
Automatic On-Off operation.
Suitable for highways, parks, recreational areas etc.
The distinction of installing the first hybrid street light in India for Tamil Nadu Tourism at Rain Drop Boat house, Mudhaliar Kuppam, Tamil Nadu.

## Slide 11: Bio Mass - Introduction
BioMethane is a renewable energy/fuel, with properties similar to natural gas, produced from "biomass.“
For ages, cow’s excreta traditionally have been used as manure in the fields, but they are also a source of viable energy- bio gas, which can reduce greenhouse emissions, significantly.
Biomass has a lot of potential to reduce Carbon Footprint.

## Slide 12: Bio Methanation Plant Setup
Kitchen Waste, Human Excreta
Shredder
Excreta from Cattle (Cows, Calves, Sheep, Goat etc)
Excreta from Pigs
Digester
Digester
Digester
Bio Gas
Slurry
Separator
Scrubber 1
Scrubber 2
Gas Storage
Electricity
Fed to Grid
Hot Water
Room Heating, Hostel Etc
Storage
Green Waste

## Slide 13
Solar Steam Cooking System
Clean, hygienic, odour free, fast cooking and 100% eco-friendly
No generation of hazardeous gases such as Carbon Dioxide, Carbon Monoxide, etc.
Cooking inside the kitchen itself. No need to get exposed
Automatic daily sun tracking system
Saves drastically on ever increasing fuel cost
Elimination of CO2. Avoids stringent law implications
Fast payback

## Slide 14: Solar Steam Cooking Layout
Main Kitchen
Boiler